## scada_tag_info
tags | Chinese_tags | config1 | config2 | config3 | config4 | config5 | config6 | config7 | config8 | config9 | config10 | config11 | config12 | config13 | config14
real_time | 时间标签 | sequence_time | TimeStamp | iIndex | .iIndex | Data And Time | recTime | 时间 | timestamp | SoftVersion : D02.007.230421.C001.P003.E003.V_TempTimeStamp | real_time | rectime | 鏃堕棿 | 1 | 1
OperationMode | 运行模式 | iOperationMode | giWindTurbineOperationMode | iTurbineOperationMode | giTurbineOperationMode | GVL_OP_gS_OP_giOperationMode | OperationMode | giwindturbineoperationmode | 1 | 1 | 1 | 1 | 1 | 1 | 1
temp_outdoor | 户外温度 | sequence_temp_outdoor | grTempOutdoor | rOutdoorTemperature | GVL_g_gsAmbient_grOutdoorTemperature | temp_outdoor | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorSpaceTemperature | 发电机空腔温度 | grGeneratorSpaceTemperature | grgeneratorspacetemperature | itempgencoolingair_1sec | grGeneratorSpacetemperature | gsGenerator_grGeneratorSpacetemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWaterTemperatureIn | 发电机水泵进水温度 | grGeneratorWaterTemperatureIn | grgeneratorwatertemperaturein | iinputwatertemp | gsGenerator.grGeneratorWaterTemperatureIn | grGeneratorInletWaterTemperature | grgeneratorinletwatertemperature | gsGenerator_grGeneratorWaterTemperatureIn | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWaterTemperatureOut | 发电机水泵出水温度 | grGeneratorWaterTemperatureOut | grgeneratorwatertemperatureout | ioutputwatertemp | gsGenerator.grGeneratorWaterTemperatureOut | grGeneratorOutletWaterTemperature | grgeneratoroutletwatertemperature | gsGenerator_grGeneratorWaterTemperatureOut | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWaterCoolingInletWaterTemperature | 发电机进水口温度 | grGeneratorWaterCoolingInletWaterTemperature | grgeneratorwatercoolinginletwatertemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWaterCoolingOutletWaterTemperature1 | 发电机定子侧出水温度1 | grGeneratorWaterCoolingOutletWaterTemperature1 | grgeneratorwatercoolingoutletwatertemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWaterCoolingOutletWaterTemperature2 | 发电机转子侧出水温度2 | grGeneratorWaterCoolingOutletWaterTemperature2 | grgeneratorwatercoolingoutletwatertemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorWaterCoolingFanMotorOn1 | 发电机水冷风扇1开启 | gbGeneratorWaterCoolingFanMotorOn1 | gbgeneratorwatercoolingfanmotoron1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorWaterCoolingFanMotorOn2 | 发电机水冷风扇2开启 | gbGeneratorWaterCoolingFanMotorOn2 | gbgeneratorwatercoolingfanmotoron2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorWaterCoolingFanMotorOn3 | 发电机水冷风扇3开启 | gbGeneratorWaterCoolingFanMotorOn3 | gbgeneratorwatercoolingfanmotoron3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorWaterCoolingFanMotorOn4 | 发电机水冷风扇4开启 | gbGeneratorWaterCoolingFanMotorOn4 | gbgeneratorwatercoolingfanmotoron4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorFanInletLeftTemperature1 | 发电机风扇左侧进口温度1 | grGeneratorFanInletLeftTemperature1 | grgeneratorfaninletlefttemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorFanOutletLeftTemperature2 | 发电机风扇左侧出口温度2 | grGeneratorFanOutletLeftTemperature2 | grgeneratorfanoutletlefttemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorFanInletRightTemperature1 | 发电机风扇右侧进口温度1 | grGeneratorFanInletRightTemperature1 | grgeneratorfaninletrighttemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorFanOutletRightTemperature2 | 发电机风扇右侧出口温度2 | grGeneratorFanOutletRightTemperature2 | grgeneratorfanoutletrighttemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorWaterCoolingPumpMotorOn | 发电机水泵开启 | gbGeneratorWaterCoolingPumpMotorOn | gbGeneratorWaterCoolingPumpMotorOnCommand | gbgeneratorwatercoolingpumpmotoroncommand | gbgeneratorwatercoolingpumpmotoron | gbGeneratorWaterPumpOn | gbgeneratorwaterpumpon | gsGenerator_gbGeneratorWaterPumpOn | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorCoolingInletWaterPressure | 发电机水泵进口压力 | grGeneratorCoolingInletWaterPressure | grGeneratorWaterPressureIn | grgeneratorcoolinginletwaterpressure | grgeneratorwaterpressurein | gsGenerator.grGeneratorWaterPressureIn | gsGenerator_grGeneratorWaterPressureIn | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorCoolingOutletWaterPressure | 发电机水泵出口压力 | grGeneratorCoolingOutletWaterPressure | grGeneratorWaterPressureOut | grgeneratorcoolingoutletwaterpressure | grgeneratorwaterpressureout | gsGenerator.grGeneratorWaterPressureOut | gsGenerator_grGeneratorWaterPressureOut | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWindingTemperature1 | 绕组温度1 | grGeneratorWindingTemperature1 | grgeneratorwindingtemperature1 | gsGenerator.grGeneratorWindingTemperature1 | gsgenerator.grgeneratorwindingtemperature1 | gsGenerator_grGeneratorWindingTemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWindingTemperature2 | 绕组温度2 | grGeneratorWindingTemperature2 | grgeneratorwindingtemperature2 | gsGenerator.grGeneratorWindingTemperature2 | gsgenerator.grgeneratorwindingtemperature2 | gsGenerator_grGeneratorWindingTemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWindingTemperature3 | 绕组温度3 | grGeneratorWindingTemperature3 | grgeneratorwindingtemperature3 | gsGenerator.grGeneratorWindingTemperature3 | gsgenerator.grgeneratorwindingtemperature3 | gsGenerator_grGeneratorWindingTemperature3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWindingTemperature4 | 绕组温度4 | grGeneratorWindingTemperature4 | grgeneratorwindingtemperature4 | gsGenerator.grGeneratorWindingTemperature4 | gsgenerator.grgeneratorwindingtemperature4 | gsGenerator_grGeneratorWindingTemperature4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWindingTemperature5 | 绕组温度5 | grGeneratorWindingTemperature5 | grgeneratorwindingtemperature5 | gsGenerator.grGeneratorWindingTemperature5 | gsgenerator.grgeneratorwindingtemperature5 | gsGenerator_grGeneratorWindingTemperature5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorWindingTemperature6 | 绕组温度6 | grGeneratorWindingTemperature6 | grgeneratorwindingtemperature6 | gsGenerator.grGeneratorWindingTemperature6 | gsgenerator.grgeneratorwindingtemperature6 | gsGenerator_grGeneratorWindingTemperature6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grUpsBatteryTemperature | 电池温度 | grUpsBatteryTemperature | grupsbatterytemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grTransformerTemperture | 塔基辅变温度 | grTransformerTemperture | grtransformertemperture | grBoxTransformerTemperature | grTransformerTemperature | grboxtransformertemperature | iTempMV_1sec | itempmv_1sec | gsBoxTransformer_grBoxTransformerTemperature | grTowerAuxiliaryTransformerTemperature | 1 | 1 | 1 | 1 | 1
grtowerbasetemperature | 塔基温度 | grTowerBaseTemperature | grtowerbasetemperature | itemptowerbase_1sec | iTempTowerBase_1sec | grTempTowerBase_1sec | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grNacelleTemperture | 机舱温度 | grNacelleTemperture | grnacelletemperture | iTempNacelle_1sec | grNacelleTemperature | grTempNacelle_1sec | itempnacelle_1sec | gsNacelle.grNacelleTemperture | gsNacelle_grNacelleTemperture | 1 | 1 | 1 | 1 | 1 | 1
grNacelleCabinetTemperture | 机舱控制柜温度 | grNacelleCabinetTemperture | grnacellecabinettemperture | ictrlcabinettemperature | grNacelleCabinetTemperature | iTempCabinetNacelle_1sec | grTempCabinetNacelle_1sec | itempcabinetnacelle_1sec | grNacelleCabinetTemperature1 | gsNacelle.grNacelleCabinetTemperture | gsNacelle_grNacelleCabinetTemperture | 1 | 1 | 1 | 1
grHubTemperture | 轮毂温度 | grHubTemperture | grhubtemperture | itemphub_1sec | iTempHub_1sec | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterControlCabinetTemperature | 变流器控制柜温度 | grConverterControlCabinetTemperature | grconvertercontrolcabinettemperature | gsConverter.grConverterControlCabinetTemperature | gsConverter_grConverterControlCabinetTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchdrivercabinettemperture1 | 桨叶轴1箱温度 | grpitchdrivercabinettemperture1 | grPitchDriverCabinetTemperture1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchdrivercabinettemperture2 | 桨叶轴2箱温度 | grpitchdrivercabinettemperture2 | grPitchDriverCabinetTemperture2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchdrivercabinettemperture3 | 桨叶轴3箱温度 | grpitchdrivercabinettemperture3 | grPitchDriverCabinetTemperture3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchcapacitortemperature2 | 变桨电容温度2 | grpitchcapacitortemperature2 | grPitchCapacitorTemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchcapacitortemperature1 | 变桨电容温度1 | grpitchcapacitortemperature1 | grPitchCapacitorTemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchcapacitortemperature3 | 变桨电容温度3 | grpitchcapacitortemperature3 | grPitchCapacitorTemperature3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchbackuppowercabinettemperture2 | 桨叶2电池箱温度 | grpitchbackuppowercabinettemperture2 | grPitchBackupPowerCabinetTemperture2 | iBlade2TempBattBox_1sec | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchbackuppowercabinettemperture1 | 桨叶1电池箱温度 | grpitchbackuppowercabinettemperture1 | grPitchBackupPowerCabinetTemperture1 | iBlade1TempBattBox_1sec | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grpitchbackuppowercabinettemperture3 | 桨叶3电池箱温度 | grpitchbackuppowercabinettemperture3 | grPitchBackupPowerCabinetTemperture3 | iBlade3TempBattBox_1sec | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grnacelletransfercabinettemperature1 | 机舱转接柜1温度 | grnacelletransfercabinettemperature1 | grNacelleTransferCabinetTemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grnacelletransfercabinettemperature2 | 机舱转接柜2温度 | grnacelletransfercabinettemperature2 | grNacelleTransferCabinetTemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grconverter1controlcabinettemperature | 变频器1控制柜温度 | grconverter1controlcabinettemperature | grConverter1ControlCabinetTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grconverter2controlcabinettemperature | 变频器2控制柜温度 | grconverter2controlcabinettemperature | grConverter2ControlCabinetTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter1IGBTTemperature | 变流器1IGBT温度 | grconverter1igbttemperature | grConverter1IGBTTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter2IGBTTemperature | 变流器2IGBT温度 | grconverter2igbttemperature | grConverter2IGBTTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grNacelleBreakerCabinetTemperature1 | 机舱断路器柜1温度 | grnacellebreakercabinettemperature1 | grNacelleBreakerCabinetTemperature1 | giBreakerCabinetTemperature1 | gibreakercabinettemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grNacelleBreakerCabinetTemperature2 | 机舱断路器柜2温度 | grnacellebreakercabinettemperature2 | grNacelleBreakerCabinetTemperature2 | giBreakerCabinetTemperature2 | gibreakercabinettemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grTransformerPhaseUTemperature | 箱变U相温度 | grTransformerPhaseUTemperature | grtransformerphaseutemperature | grboxtransformeraphasetemperature | grBoxTransformerAPhaseTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grTransformerPhaseVTemperature | 箱变V相温度 | grTransformerPhaseVTemperature | grtransformerphasevtemperature | grboxtransformerbphasetemperature | grBoxTransformerBPhaseTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grTransformerPhaseWTemperature | 箱变W相温度 | grTransformerPhaseWTemperature | grtransformerphasewtemperature | grboxtransformercphasetemperature | grBoxTransformerCPhaseTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterPowerModuleTemperture | 变流器功率模块温度 | grConverterPowerModuleTemperture | grconverterpowermoduletemperture | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterPowerModuleTemperture2 | 变流器功率模块温度2 | grConverterPowerModuleTemperture2 | grconverterpowermoduletemperture2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
iGridCabinetTemp | 并网柜温度 | iGridCabinetTemp | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
iRSU_IGBT_Temperature | 转子侧模块最高温度 | iRSU_IGBT_Temperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilPressureA2 | 齿轮箱A2口压力 | grGearboxOilPressureA2 | grgearboxoilpressurea2 | gsGearBox.grGearboxOilPressureA2 | gsgearbox.grgearboxoilpressurea2 | gsGearBox_grGearboxOilPressureA2 | gsgearbox_grgearboxoilpressurea2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilPressureA3 | 齿轮箱A3口压力 | grGearboxOilPressureA3 | grgearboxoilpressurea3 | gsGearBox.grGearboxOilPressureA3 | gsgearbox.grgearboxoilpressurea3 | gsGearBox_grGearboxOilPressureA3 | gsgearbox_grgearboxoilpressurea3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorWaterPumpOn | 发电机水泵 | gbGeneratorWaterCoolingPumpMotorOn | gbgeneratorwatercoolingpumpmotoron | gbGeneratorWaterPumpOn | gbgeneratorwaterpumpon | gbGeneratorWaterCoolingPumpMotorOnCommand | gbgeneratorwatercoolingpumpmotoroncommand | gsGenerator_gbGeneratorWaterPumpOn | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorFanMotorOn1Command | 发电机冷却风机1开 | gbGeneratorFanMotorOn1Command | gbgeneratorfanmotoron1command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorFanMotorOn2Command | 发电机冷却风机2开 | gbGeneratorFanMotorOn2Command | gbgeneratorfanmotoron2command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorInsideRecycleWindInletTemperature1 | 发电机空空冷内循环入口温度1 | grGeneratorInsideRecycleWindInletTemperature1 | grgeneratorinsiderecyclewindinlettemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorInsideRecycleWindInletTemperature2 | 发电机空空冷内循环入口温度2 | grGeneratorInsideRecycleWindInletTemperature2 | grgeneratorinsiderecyclewindinlettemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorInsideRecycleWindOutletTemperature1 | 发电机空空冷内循环出口温度1 | grGeneratorInsideRecycleWindOutletTemperature1 | grgeneratorinsiderecyclewindoutlettemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorInsideRecycleWindOutletTemperature2 | 发电机空空冷内循环出口温度2 | grGeneratorInsideRecycleWindOutletTemperature2 | grgeneratorinsiderecyclewindoutlettemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorOutsideRecycleWindInletTemperature1 | 发电机空空冷外循环入口温度1 | grGeneratorOutsideRecycleWindInletTemperature1 | grgeneratoroutsiderecyclewindinlettemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorOutsideRecycleWindInletTemperature2 | 发电机空空冷外循环入口温度2 | grGeneratorOutsideRecycleWindInletTemperature2 | grgeneratoroutsiderecyclewindinlettemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorOutsideRecycleWindOutletTemperature1 | 发电机空空冷外循环出口温度1 | grGeneratorOutsideRecycleWindOutletTemperature1 | grgeneratoroutsiderecyclewindoutlettemperature1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorOutsideRecycleWindOutletTemperature2 | 发电机空空冷外循环出口温度2 | grGeneratorOutsideRecycleWindOutletTemperature2 | grgeneratoroutsiderecyclewindoutlettemperature2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterTorque14 | 变频器转矩14（外循环风扇电机1） | grConverterTorque14 | grconvertertorque14 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterTorque15 | 变频器转矩15（内循环风扇电机1） | grConverterTorque15 | grconvertertorque15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterTorque16 | 变频器转矩16（内循环风扇电机2） | grConverterTorque16 | grconvertertorque16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGeneratorOutsideRecycleFanOn2 | 外循环风扇电机2 | gbGeneratorOutsideRecycleFanOn2 | gbgeneratoroutsiderecyclefanon2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
giConverterStatus14 | 变频器状态14 | giConverterStatus14 | giconverterstatus14 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
giConverterStatus15 | 变频器状态15 | giConverterStatus15 | giconverterstatus15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
giConverterStatus16 | 变频器状态16 | giConverterStatus16 | giconverterstatus16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilTemperature | 齿轮箱油温 | grGearboxOilTemperture | grgearboxoiltemperture | grGearboxOilTemperature | itemp1gearoil_1sec | grgearboxoiltemperature | grGearBoxOilTemperature | grGearBoxOilTemperture | grGearBoxOilTemperture | gsGearBox.grGearBoxOilTemperture | gsgearbox.grgearboxoiltemperture | gsGearBox_grGearBoxOilTemperture | 1 | 1 | 1
grGearboxMainPumpOilTemperature | 齿轮箱主泵处油温 | grGearboxMainPumpOilTemperature | grgearboxmainpumpoiltemperature | grGearboxMainPumpOilTemperture | grgearboxmainpumpoiltemperture | grGearboxOilTemperatureAtMainPump | grgearboxoiltemperatureatmainpump | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxMainBearingTemperature | 齿轮箱主轴承温度 | grGearboxMainBearingTemperature | grgearboxmainbearingtemperature | grGearboxMainBearingTemperture | grgearboxmainbearingtemperture | gsGearBox.grGearboxMainBearingTemperature | gsGearBox_grGearboxMainBearingTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilTemperatureA3 | 齿轮箱A3口温度 | grGearboxOilTempertureA3 | grgearboxoiltemperturea3 | grGearboxOilTemperatureA3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxHubSideBearingTemperature | 齿轮箱轮毂侧轴承温度 | grGearboxHubSideBearingTemperature1 | grGearboxHubSideBearingTemperature | grgearboxhubsidebearingtemperature | grgearboxhubsidebearingtemperature1 | gsGearBox.grGearboxHubSideBearingTemperature | gsgearbox.grgearboxhubsidebearingtemperature | gsGearBox_grGearboxHubSideBearingTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxGeneratorSideBearingTemperature | 齿轮箱发电机侧轴承温度 | grGearboxGeneratorSideBearingTemperature1 | grGearboxGeneratorSideBearingTemperature | grgearboxgeneratorsidebearingtemperature | grgearboxgeneratorsidebearingtemperature1 | gsGearBox.grGearboxGeneratorSideBearingTemperature | gsgearbox.grgearboxgeneratorsidebearingtemperature | gsGearBox_grGearboxGeneratorSideBearingTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilCoolerInletTemperature | 润滑油冷却器入口油温 | grGearboxOilCoolerInletTemperature | grgearboxoilcoolerinlettemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilCoolerOutletTemperature | 润滑油冷却器出口油温 | grGearboxOilCoolerOutletTemperature | grgearboxoilcooleroutlettemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilCoolingPumpOilOutletPressure | 齿轮箱冷却泵出口压力 | grGearboxOilCoolingPumpOilOutletPressure | grgearboxoilcoolingpumpoiloutletpressure | grGearboxCoolingPumpOilOutletPressure | grgearboxcoolingpumpoiloutletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxOilCoolingPumpOn | 齿轮箱冷却泵运行 | gbGearboxOilCoolingPumpOn | gbgearboxoilcoolingpumpon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxWaterPumpInletPressure1 | 齿轮箱水泵1入口压力 | grGearboxWaterPumpInletPressure1 | grgearboxwaterpumpinletpressure1 | grGearboxOilWaterPumpInletPressure | grgearboxoilwaterpumpinletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxWaterPumpOutletPressure1 | 齿轮箱水泵1出口压力 | grGearboxWaterPumpOutletPressure1 | grgearboxwaterpumpoutletpressure1 | grGearboxOilWaterPumpOutletPressure | grgearboxoilwaterpumpoutletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxWaterPumpInletPressure2 | 齿轮箱水泵2入口压力 | grGearboxWaterPumpInletPressure2 | grgearboxwaterpumpinletpressure2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxWaterPumpOutletPressure2 | 齿轮箱水泵2出口压力 | grGearboxWaterPumpOutletPressure2 | grgearboxwaterpumpoutletpressure2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxWaterPumpInletTemperature1 | 齿轮箱水泵入口温度1 | grGearboxWaterPumpInletTemperature1 | grgearboxwaterpumpinlettemperature1 | grGearboxWaterPumpInletTemperature | grgearboxwaterpumpinlettemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxWaterPumpOutletTemperature | 齿轮箱水泵出口温度 | grGearboxWaterPumpOutletTemperature | grgearboxwaterpumpoutlettemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxWaterPumpOn1 | 齿轮箱水泵1运行 | gbGearboxWaterPumpOn1 | gbgearboxwaterpumpon1 | gbGearboxWaterPumpOnCommand1 | gbGearboxOilWaterCoolingPumpOn | gbgearboxoilwatercoolingpumpon | gbGearboxWaterPumpOnCommand | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxWaterPumpOn2 | 齿轮箱水泵2运行 | gbGearboxWaterPumpOn2 | gbgearboxwaterpumpon2 | gbGearboxWaterPumpOnCommand2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxWaterFan1LowSpeedOn | 齿轮箱水冷风扇1低速运行 | gbGearboxWaterFan1LowSpeedOn | gbgearboxwaterfan1lowspeedon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxWaterFan2LowSpeedOn | 齿轮箱水冷风扇2低速运行 | gbGearboxWaterFan2LowSpeedOn | gbgearboxwaterfan2lowspeedon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxWaterFan1HighSpeedOn | 齿轮箱水冷风扇1高速运行 | gbGearboxWaterFan1HighSpeedOn | gbgearboxwaterfan1highspeedon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbGearboxWaterFan2HighSpeedOn | 齿轮箱水冷风扇2高速运行 | gbGearboxWaterFan2HighSpeedOn | gbgearboxwaterfan2highspeedon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorGearboxSideBearingTemperature | 发电机齿轮箱侧轴承温度 | grGeneratorGearboxSideBearingTemperature | grgeneratorgearboxsidebearingtemperature | itempgenbearde_1sec | gsGenerator.grGeneratorGearboxSideBearingTemperature | gsgenerator.grgeneratorgearboxsidebearingtemperature | gsGenerator_grGeneratorGearboxSideBearingTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGeneratorNacelleSideBearingTemperature | 发电机机舱侧轴承温度 | grGeneratorNacelleSideBearingTemperature | grgeneratornacellesidebearingtemperature | itempgenbearnde_1sec | gsGenerator.grGeneratorNacelleSideBearingTemperature | gsgenerator.grgeneratornacellesidebearingtemperature | gsGenerator_grGeneratorNacelleSideBearingTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxGeneratorPump3_1OutletPressure | 齿轮箱发电机润滑泵3_1出口压力 | grGearboxGeneratorPump3_1OutletPressure | grgearboxgeneratorpump3_1outletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxGeneratorPump3_2OutletPressure | 齿轮箱发电机润滑泵3_2出口压力 | grGearboxGeneratorPump3_2OutletPressure | grgearboxgeneratorpump3_2outletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxMainPump1_1OilOutletPressure | 齿轮箱主泵1_1出口压力 | grGearboxMainPump1_1OilOutletPressure | grgearboxmainpump1_1oiloutletpressure | grGearboxMainPump1OutletPressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxMainPump1_2OilOutletPressure | 齿轮箱主泵1_2出口压力 | grGearboxMainPump1_2OilOutletPressure | grgearboxmainpump1_2oiloutletpressure | grGearboxMainPump2OutletPressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxMainFilterPressure2_1 | 齿轮箱主泵2_1滤芯压差 | grGearboxMainFilterPressure2_1 | grgearboxmainfilterpressure2_1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxMainFilterPressure2_2 | 齿轮箱主泵2_2滤芯压差 | grGearboxMainFilterPressure2_2 | grgearboxmainfilterpressure2_2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilPressureA1 | 齿轮箱A1口压力 | grGearboxOilPressureA1 | grgearboxoilpressurea1 | gsGearBox.grGearboxOilPressureA1 | gsgearbox.grgearboxoilpressurea1 | gsGearBox_grGearboxOilPressureA1 | gsgearbox_grgearboxoilpressurea1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGearboxOilpressureA4 | 齿轮箱A4口压力 | grGearboxOilpressureA4 | grgearboxoilpressurea4 | gsGearBox.grGearboxOilPressureA4 | gsgearbox.grgearboxoilpressurea4 | gsGearBox_grGearboxOilPressureA4 | gsgearbox_grgearboxoilpressurea4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grBoxTransformerWaterPumpInletTemperature | 箱变水冷泵进口温度 | grBoxTransformerWaterPumpInletTemperature | grBoxTransformerWaterCoolingInletTemperature | grboxtransformerwatercoolinginlettemperature | grTowerTransformerCoolingSystemWaterInTemperature | grtowertransformercoolingsystemwaterintemperature | grBoxTransformerWaterCoolingInletTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grBoxTransformerWaterPumpOutletTemperature | 箱变水冷泵出口温度 | grBoxTransformerWaterPumpOutletTemperature | grBoxTransformerWaterCoolingOutletTemperature | grboxtransformerwatercoolingoutlettemperature | grTowerTransformerCoolingSystemWaterOutTemperature | grtowertransformercoolingsystemwaterouttemperature | grBoxTransformerWaterCoolingOutletTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grBoxTransformerWaterPumpInletPressure | 箱变水冷泵进口压力 | grBoxTransformerWaterPumpInletPressure | grboxtransformerwaterpumpinletpressure | grTransformerCoolingSystemWaterInPressure | grtransformercoolingsystemwaterinpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grBoxTransformerWaterPumpOutletPressure | 箱变水冷泵出口压力 | grBoxTransformerWaterPumpOutletPressure | grboxtransformerwaterpumpoutletpressure | grTransformerCoolingSystemWaterOutPressure | grtransformercoolingsystemwateroutpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbBoxTransformerFanOnFeedback1 | 箱变背包风扇1运行反馈 | gbBoxTransformerFanOnFeedback1 | gbboxtransformerfanonfeedback1 | gbBoxTransformerFan1Run | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbBoxTransformerFanOnFeedback2 | 箱变背包风扇2运行反馈 | gbBoxTransformerFanOnFeedback2 | gbboxtransformerfanonfeedback2 | gbBoxTransformerFan2Run | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbBoxTransformerFanOnFeedback3 | 箱变背包风扇3运行反馈 | gbBoxTransformerFanOnFeedback3 | gbboxtransformerfanonfeedback3 | gbBoxTransformerFan3Run | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbBoxTransformerWaterPumpOnCommand | 箱变水冷泵运行命令 | gbBoxTransformerWaterPumpOnCommand | gbboxtransformerwaterpumponcommand | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbBoxTransformerWaterCoolingFanOnCommand1 | 箱变水冷风扇1运行命令 | gbBoxTransformerWaterCoolingFanOnCommand1 | gbboxtransformerwatercoolingfanoncommand1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbBoxTransformerWaterCoolingFanOnCommand2 | 箱变水冷风扇2运行命令 | gbBoxTransformerWaterCoolingFanOnCommand2 | gbboxtransformerwatercoolingfanoncommand2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grTowerBaseCabinetTemperture | 塔基柜温度 | grTowerBaseCabinetTemperture | grTowerBaseCabinetTemperature | grtowerbasecabinettemperture | itempcabinettowerbase_1sec | grTowerCabinetTemperature1 | iTempCabinetTowerBase_1sec | grTempCabinetTowerBase_1sec | gsTowerBase.grTowerBaseCabinetTemperture | gsTowerBase_grTowerBaseCabinetTemperture | grtowerbasecabinettemperature | 1 | 1 | 1 | 1
grNacelleCabinetLowVoltageTemperature | 低压柜（机舱信号柜温度） | grNacelleCabinetLowVoltageTemperature | grnacellecabinetlowvoltagetemperature | grNacelleLowVoltageCabinetTemperature | grnacellelowvoltagecabinettemperature | grNacelleLVCabinetTemperature | grnacellelvcabinettemperature | grNacelleLowVoltageCabinetTempetature | 1 | 1 | 1 | 1 | 1 | 1 | 1
grNacelleCabinetHighVoltageTemperature | 高压柜（机舱动力柜温度） | grNacelleCabinetHighVoltageTemperature | grnacellecabinethighvoltagetemperature | grNacelleHighVoltageCabinetTemperature | grnacellehighvoltagecabinettemperature | grNacelleHVCabinetTemperature | grnacellehvcabinettemperature | grNacelleHighVoltageCabinetTempetature | 1 | 1 | 1 | 1 | 1 | 1 | 1
grTowerTransformerTemperture | 塔基变压器温度 | grTowerTransformerTemperture | grtowertransformertemperture | grTowerTransformerTemperature | grtowertransformertemperature | grTowerAuxiliaryTransformerTemperature | grTempTowerTransformer690_400V_1sec | iTempTransformer690_400V_1sec | grTempTransformer690_400V_1sec | itemptransformer690_400v_1sec | gsTowerBase.grTransformerTemperture | gsTowerBase_grTransformerTemperture | 1 | 1 | 1
grConverter1CoolantInletTemperature | 变流器1水冷柜进水温度 | grConverter1CoolantInletTemperature | grConverter1CoolantInletTemperture | grconverter1coolantinlettemperature | grconverter1coolantinlettemperture | grConverter1CoolantInletTemperatureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter2CoolantInletTemperature | 变流器2水冷柜进水温度 | grConverter2CoolantInletTemperature | grConverter2CoolantInletTemperture | grconverter2coolantinlettemperature | grconverter2coolantinlettemperture | grConverter2CoolantInletTemperatureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter1CoolantOutletTemperature | 变流器1水冷柜出水温度 | grConverter1CoolantOutletTemperature | grConverter1CoolantOutletTemperture | grconverter1coolantoutlettemperature | grconverter1coolantoutlettemperture | grConverter1CoolantOutletTempertureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter2CoolantOutletTemperature | 变流器2水冷柜出水温度 | grConverter2CoolantOutletTemperature | grConverter2CoolantOutletTemperture | grconverter2coolantoutlettemperature | grconverter2coolantoutlettemperture | grConverter2CoolantOutletTempertureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter1CoolantPumpOn | 变流器1水冷柜水冷泵开 | gbConverter1CoolantPumpOn | gbconverter1coolantpumpon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter2CoolantPumpOn | 变流器2水冷柜水冷泵开 | gbConverter2CoolantPumpOn | gbconverter2coolantpumpon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter1CoolantFan1On | 变流器1水冷柜水冷风扇1开 | gbConverter1CoolantFan1On | gbconverter1coolantfan1on | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter1CoolantFan2On | 变流器1水冷柜水冷风扇2开 | gbConverter1CoolantFan2On | gbconverter1coolantfan2on | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter1CoolantFan3On | 变流器1水冷柜水冷风扇3开 | gbConverter1CoolantFan3On | gbconverter1coolantfan3on | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter2CoolantFan1On | 变流器2水冷柜水冷风扇1开 | gbConverter2CoolantFan1On | gbconverter2coolantfan1on | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter2CoolantFan2On | 变流器2水冷柜水冷风扇2开 | gbConverter2CoolantFan2On | gbconverter2coolantfan2on | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverter2CoolantFan3On | 变流器2水冷柜水冷风扇3开 | gbConverter2CoolantFan3On | gbconverter2coolantfan3on | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter1CoolantInletPressure | 变流器1水冷柜进水压力 | grConverter1CoolantInletPressure | grConverter1CoolingWaterPumpPressureIn | grconverter1coolantinletpressure | grconverter1coolingwaterpumppressurein | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter2CoolantInletPressure | 变流器2水冷柜进水压力 | grConverter2CoolantInletPressure | grConverter2CoolingWaterPumpPressureIn | grconverter2coolantinletpressure | grconverter2coolingwaterpumppressurein | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter1CoolantOutletPressure | 变流器1水冷柜出水压力 | grConverter1CoolantOutletPressure | grConverter1CoolingWaterPumpPressureOut | grconverter1coolantoutletpressure | grconverter1Coolingwaterpumppressureout | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverter2CoolantOutletPressure | 变流器2水冷柜出水压力 | grConverter2CoolantOutletPressure | grConverter2CoolingWaterPumpPressureOut | grconverter2coolantoutletpressure | grconverter2Coolingwaterpumppressureout | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem1InletPressure | 变频器水冷系统1进水压力 | grConverterCoolingSystem1InletPressure | grconvertercoolingsystem1inletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem1OutletPressure | 变频器水冷系统1出水压力 | grConverterCoolingSystem1OutletPressure | grconvertercoolingsystem1outletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem2InletPressure | 变频器水冷系统2进水压力 | grConverterCoolingSystem2InletPressure | grconvertercoolingsystem2inletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem2OutletPressure | 变频器水冷系统2出水压力 | grConverterCoolingSystem2OutletPressure | grconvertercoolingsystem2outletpressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem1InletTemperature | 变频器水冷系统1进水温度 | grConverterCoolingSystem1InletTemperature | grConverterCoolingSystem1InletTemperture | grconvertercoolingsystem1inlettemperature | grconvertercoolingsystem1inlettemperture | grConverter1CoolantInletTemperatureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem1OutletTemperature | 变频器水冷系统1出水温度 | grConverterCoolingSystem1OutletTemperature | grConverterCoolingSystem1OutletTemperture | grconvertercoolingsystem1outlettemperature | grconvertercoolingsystem1outlettemperture | grConverter1CoolantOutletTempertureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem2InletTemperature | 变频器水冷系统2进水温度 | grConverterCoolingSystem2InletTemperature | grConverterCoolingSystem2InletTemperture | grconvertercoolingsystem2inlettTemperature | grconvertercoolingsystem2inlettTemperture | grConverter2CoolantInletTemperatureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grConverterCoolingSystem2OutletTemperature | 变频器水冷系统2出水温度 | grConverterCoolingSystem2OutletTemperature | grConverterCoolingSystem2OutletTemperture | grconvertercoolingsystem2outlettemperature | grconvertercoolingsystem2outlettemperture | grConverter2CoolantOutletTempertureMore | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem1PumpOnCommand | 变频器水冷系统1水泵开 | gbConverterCoolingSystem1PumpOnCommand | gbconvertercoolingsystem1pumponcommand | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem1FanOn1Command | 变频器水冷系统1水冷风扇1开 | gbConverterCoolingSystem1FanOn1Command | gbconvertercoolingsystem1fanon1command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem1FanOn2Command | 变频器水冷系统1水冷风扇2开 | gbConverterCoolingSystem1FanOn2Command | gbconvertercoolingsystem1fanon2command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem1FanOn3Command | 变频器水冷系统1水冷风扇3开 | gbConverterCoolingSystem1FanOn3Command | gbconvertercoolingsystem1fanon3command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem2PumpOnCommand | 变频器水冷系统2水冷泵开 | gbConverterCoolingSystem2PumpOnCommand | gbconvertercoolingsystem2pumponcommand | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem2FanOn1Command | 变频器水冷系统2水冷风扇1开 | gbConverterCoolingSystem2FanOn1Command | gbconvertercoolingsystem2fanon1command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem2FanOn2Command | 变频器水冷系统2水冷风扇2开 | gbConverterCoolingSystem2FanOn2Command | gbconvertercoolingsystem2fanon2command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem2FanOn3Command | 变频器水冷系统2水冷风扇3开 | gbConverterCoolingSystem2FanOn3Command | gbconvertercoolingsystem2fanon3command | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem1ValveOnFeedback | 变频器水冷系统1三通阀开反馈 | gbConverterCoolingSystem1ValveOnFeedback | gbconvertercoolingsystem1valveonfeedback | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gbConverterCoolingSystem2ValveOnFeedback | 变频器水冷系统2三通阀开反馈 | gbConverterCoolingSystem2ValveOnFeedback | gbconvertercoolingsystem2valveonfeedback | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitch1DCLinkVoltage | 桨叶1驱动器直流母线电压 | grPitch1DCLinkVoltage | grPitchBusVoltage1 | gsPitchSystem_grPitch1DCLinkVoltage | grpitch1dclinkvoltage | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitch2DCLinkVoltage | 桨叶2驱动器直流母线电压 | grPitch2DCLinkVoltage | grPitchBusVoltage2 | gsPitchSystem_grPitch2DCLinkVoltage | grpitch2dclinkvoltage | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitch3DCLinkVoltage | 桨叶3驱动器直流母线电压 | grPitch3DCLinkVoltage | grPitchBusVoltage3 | gsPitchSystem_grPitch3DCLinkVoltage | grpitch3dclinkvoltage | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGridVoltage1 | 电网电压1 | grGridVoltage1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGridVoltage2 | 电网电压2 | grGridVoltage2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grGridVoltage3 | 电网电压3 | grGridVoltage3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchAngle1A | 桨叶角度1A | grPitchAngle1A | gsPitchSystem_grPitchAngle1A | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchAngle1B | 桨叶角度1B | grPitchAngle1B | gsPitchSystem_grPitchAngle1B | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchAngle2A | 桨叶角度2A | grPitchAngle2A | gsPitchSystem_grPitchAngle2A | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchAngle2B | 桨叶角度2B | grPitchAngle2B | gsPitchSystem_grPitchAngle2B | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchAngle3A | 桨叶角度3A | grPitchAngle3A | gsPitchSystem_grPitchAngle3A | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchAngle3B | 桨叶角度3B | grPitchAngle3B | gsPitchSystem_grPitchAngle3B | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchMotorCurrent1 | 桨叶1电机电流 | grPitchMotorCurrent1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchMotorCurrent2 | 桨叶2电机电流 | grPitchMotorCurrent2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchMotorCurrent3 | 桨叶3电机电流 | grPitchMotorCurrent3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchMotorTemperature1 | 桨叶1电机温度 | grPitchMotorTemperture1 | grPitchMotorTemperature1 | grAxisMotorTemperature1 | gsPitchSystem_grPitchMotorTemperture1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchMotorTemperature2 | 桨叶2电机温度 | grPitchMotorTemperture2 | grPitchMotorTemperature2 | grAxisMotorTemperature2 | gsPitchSystem_grPitchMotorTemperture2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchMotorTemperature3 | 桨叶3电机温度 | grPitchMotorTemperture3 | grPitchMotorTemperature3 | grAxisMotorTemperature3 | gsPitchSystem_grPitchMotorTemperture3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchBackupVoltage1 | 桨叶1后备电源电压 | grPitchBackupVoltage1 | grPitchAxisBackUpVoltage1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchBackupVoltage2 | 桨叶2后备电源电压 | grPitchBackupVoltage2 | grPitchAxisBackUpVoltage2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchBackupVoltage3 | 桨叶3后备电源电压 | grPitchBackupVoltage3 | grPitchAxisBackUpVoltage3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchSlaveBusVoltage1 | 桨叶1从机直流母线电压 | grPitchSlaveBusVoltage1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchSlaveBusVoltage2 | 桨叶2从机直流母线电压 | grPitchSlaveBusVoltage2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grPitchSlaveBusVoltage3 | 桨叶3从机直流母线电压 | grPitchSlaveBusVoltage3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grSlaveBackupVoltageA2 | 桨叶2从机交流电压 | grSlaveBackupVoltageA2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grSlaveBackupVoltageA3 | 桨叶3从机交流电压 | grSlaveBackupVoltageA3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grSlaveBackupVoltageA1 | 桨叶1从机交流电压 | grSlaveBackupVoltageA1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
giWindTurbineErrorMode | 故障模式 | giWindTurbineErrorMode | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
giFirstErrorNumber | 首触代码 | giFirstErrorNumber | gsStatic_gsStatic_giFirstErrorNumber | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1