## tracelog_tag_info
tags | Chinese_tags | config1 | config2 | config3 | config4 | config5 | config6 | config7 | config8 | config9 | config10 | config11 | config12 | config13 | config14
time_stamp | 时间 | sequence_time | TimeStamp | iIndex | .iIndex | Data And Time | recTime | 时间 | timestamp | grTime | Time | 1 | 1 | 1 | 1
ioperation_mode | 运行模式 | iOperationMode | giWindTurbineOperationMode | iTurbineOperationMode | giTurbineOperationMode | GVL_OP_gS_OP_giOperationMode | rOperationMode | grOperationMode | giOperationMode | 1 | 1 | 1 | 1 | 1 | 1
wind_speed | 风速 | sequence_wind_speed | grWindSpeed_IEC | grWindSpeed | wind_speed | GVL_WWIN_Main_Swin_grWindSpeed | rWindSpeed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_speed1 | 风速1 | sequence_wind_speed | rWindSpeed1 | .rWindSpeed1 | GVL_g_gsWindSpeed_grWindSpeed | grWindSpeed1 | GVL_WWIN_Main_Swin_grWindSpeed1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_speed2 | 风速2 | sequence_wind_speed2 | rWindSpeed2 | .rWindSpeed2 | grWindSpeed2 | GVL_WWIN_Main_Swin_grWindSpeed2 | grWindSpeed3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_direction1 | 风向1 | rWindDirection1 | GVL_WWIN_Main_Swin_grWindDirection | grWindDirection1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_direction2 | 风向2 | rWindDirection2 | GVL_WWIN_Main_Swin_grWindDirection2 | grWindDirection2 | grWindDirection3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_turbulence | 湍流 | rWindTurbulence | rWindTurbulence | .rWindTurbulence | Q_BK_S_VsprStdTurbulence | Q_Plc_VsprStdTurbulence | GVL_WWIN_Main_Swin_grWindTurbulence | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_direction | 风向 | grVaneDirection | rWindDirection | grWindDirection | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
active_power | 有功功率 | sequence_active_power | grCAN_ActivePower | rGridActivePower | rConverterGridActivePower | .rGridActivePower | .rConverterGridActivePower | GVL_g_gsGrid_grGridActivePower | grid_active_power | grGridActivePower | GVL_WGRI_Main_Sgri_grGridReactivePower | rGridActivePower | 1 | 1 | 1
reactive_power | 无功功率 | sequence_reactive_power | grCAN_ReactivePower | rGridReactivePower | rConverterGridReactivePower | .rGridReactivePower | .rConverterGridReactivePower | GVL_g_gsGrid_grGridReactivePower | grGridReactivePower | 1 | 1 | 1 | 1 | 1 | 1
pitch_angle1 | 桨叶1角度 | sequence_pitch_angle_1 | grPitchAngleBlade1 | rPitchPosition1 | rAxisMotorPosition1 | .rPitchPosition1 | GVL_g_gsPitch_grAxisMotorPosition1 | grAxisMotorPosition1 | grPitchAngleBlade1 | GVL_WPIT_Main_Spit_grPitchPosition1 | grPitchAngle1A | rPitch1 | pitch_angle_1 | grPitchPosition1 | rPitchAngle1A
pitch_angle2 | 桨叶2角度 | sequence_pitch_angle_2 | grPitchAngleBlade2 | rPitchPosition2 | rAxisMotorPosition2 | .rPitchPosition2 | GVL_g_gsPitch_grAxisMotorPosition2 | grAxisMotorPosition2 | grPitchAngleBlade2 | GVL_WPIT_Main_Spit_grPitchPosition2 | grPitchAngle2A | rPitch2 | pitch_angle_2 | grPitchPosition2 | rPitchAngle2A
pitch_angle3 | 桨叶3角度 | sequence_pitch_angle_3 | grPitchAngleBlade3 | rPitchPosition3 | rAxisMotorPosition3 | .rPitchPosition3 | GVL_g_gsPitch_grAxisMotorPosition3 | grAxisMotorPosition3 | grPitchAngleBlade3 | GVL_WPIT_Main_Spit_grPitchPosition3 | grPitchAngle3A | rPitch3 | pitch_angle_3 | grPitchPosition3 | rPitchAngle3A
pitch_position_setpoint | 桨叶角度设定值 | GVL_WPIT_Main_Spit_grPitchPositionSetpoint | rPitchPositionSetpoint | grPitchPositionSetpoint | grPitchAngle_SetValueBlade1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_speed1 | 桨叶1速度 | rAxisPitchSpeed1 | GVL_g_gsPitch_grAxisPitchSpeed1 | grPitchSpeed1 | rPitchSpeed1 | GVL_WPIT_Main_Spit_grAxisPitchSpeed1 | pitch_speed_1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_speed2 | 桨叶2速度 | rAxisPitchSpeed2 | GVL_g_gsPitch_grAxisPitchSpeed2 | grPitchSpeed2 | rPitchSpeed2 | GVL_WPIT_Main_Spit_grAxisPitchSpeed2 | pitch_speed_2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_speed3 | 桨叶3速度 | rAxisPitchSpeed3 | GVL_g_gsPitch_grAxisPitchSpeed3 | grPitchSpeed3 | rPitchSpeed3 | GVL_WPIT_Main_Spit_grAxisPitchSpeed3 | pitch_speed_3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_speed | 桨叶速度 | pitch_speed | sequence_pitch_speed | grPitchSpeed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_motor_current1 | 桨叶1电机电流 | grPitchMotorCurrent1 | rAxisMotorCurrent1 | grBladeMotorCurrent1 | grBlade1MotorCurrent | GVL_WPIT_Main_Spit_grAxisMotorCurrent1 | PitchMotorCurrent1 | grAxisMotorCurrent1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_motor_current2 | 桨叶2电机电流 | grPitchMotorCurrent2 | rAxisMotorCurrent2 | grBladeMotorCurrent2 | grBlade2MotorCurrent | GVL_WPIT_Main_Spit_grAxisMotorCurrent2 | PitchMotorCurrent2 | grAxisMotorCurrent2 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_motor_current3 | 桨叶3电机电流 | grPitchMotorCurrent3 | rAxisMotorCurrent3 | grBladeMotorCurrent3 | grBlade3MotorCurrent | GVL_WPIT_Main_Spit_grAxisMotorCurrent3 | PitchMotorCurrent3 | grAxisMotorCurrent3 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch_normal_switch | 桨叶切换成正常开关 | bSwitchPitchToNormal | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
rotor_speed | 叶轮转速 | sequence_rotor_speed | grRotorSpeedPDM | grRotorSpeedPDM_1sec | rRotorSpeed | .rRotorSpeed | GVL_g_gsRotor_grRotorSpeed | speed_rotor | GVL_WROT_Main_Srot_grRotorSpeed | grRotorSpeed | 1 | 1 | 1 | 1 | 1
rotor_speed_filter | 叶轮滤波转速 | grRotorSpeedPDM_Filter | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grRotorSpeedFormSpeedRelay1 | 转子转速(超速继电器1) | grRotorSpeedFormSpeedRelay1 | rRotorSpeedFormSpeedRelay1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grRotorSpeedFormSpeedRelay2 | 转子转速(超速继电器2) | grRotorSpeedFormSpeedRelay2 | rRotorSpeedFormSpeedRelay2 | grRotorSpeedFormSpeedRelay | rRotorSpeedSpeedRelay | rRotSpeedFromRelay | rRotorSpeedFromSpeedRelay | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grRotorSpeedFromCounterModule1 | 转子转速(计数器1) | grRotorSpeedFromCounterModule1 | rRotSpeedFromCountMoudle3 | rRotorSpeedFromCounterModule1 | grRotorSpeedFromCountMoudle1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
grRotorSpeedFromCounterModule2 | 转子转速(计数器2) | grRotorSpeedFromCounterModule2 | rRotorSpeedFromCounterModule2 | grRotorSpeedFromCountMoudle2 | grRotorSpeedFromCounterModule | rRotorSpeedCountMoudle | rRotSpeedFromCountModule | rRotorSpeedFromCountMoudle | 1 | 1 | 1 | 1 | 1 | 1 | 1
rotor_position | 叶轮位置 | rRotorPosition | GVL_WROT_Main_Srot_grRotorPosition | grRotorPosition | grAzimuthAngle | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
rotor_brake_on | 叶轮刹车开关 | bRotorBrakeOn | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
rotor_brake_pressure | 叶轮刹车压力 | rRotorBrakePressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
generator_speed | 发电机转速 | sequence_generator_speed | grCAN_GeneratorSpeed | grGenSpeedPDM | rGeneratorSpeed | .rGeneratorSpeed | GVL_g_gsRotor_grGeneratorSpeed | grGeneratorSpeed | rGenSpeed | GVL_WROT_Main_Srot_grGeneratorSpeed | rGeneratorSpeed | 1 | 1 | 1 | 1
generator_speed_setpoint | 发电机额定转速 | S_VsprSpeedSetpointTorque | VsprSpeedSetpointPitch | rControllerGeneratorSpeedSetpoint | grGeneratorSpeedSetpoint | grSetValueGenSpeed | S_VsprSpeedSetpointPitch | rGeneratorSpeedSetpoint | PRG_PDSpeedController.rLocalSetValueGenSpeed | grGenSpeedSetpointLocalForPID | rTorqueGeneratorSpeedSetpoint | VsprSpeedSetpointTorque | .rControllerGeneratorSpeedSetpoint | rLocalGeneratorSpeedSetPoint | Q_BK_D_PowerControlSpeedSetpoint
generator_speed_filter | 发电机滤波转速 | grGeneratorSpeedFiltered | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
generator_speed_relay | 发电机转速(超速继电器) | grGeneratorSpeedFormSpeedRelay | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
generator_speed_module | 发电机转速(计数器) | grGeneratorSpeedFormCounterModule | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter_generator_speed | 变频器发电机转速 | GVL_WCOV_Main_Scov_grConverterGeneratorSpeed | grConverterGeneratorSpeed | rConverterGeneratorSpeed | rCovGenSpeed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
gen_speed_process | 控制器转速 | grGenSpeedForProcess | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
byaw_mode | 偏航模式 | iYawMode | GVL_OP_gS_OP_giYawMode | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
yaw_position | 偏航位置 | rYawPosition | .rYawPosition | GVL_g_gsYaw_grYawPosition | yaw_position | GVL_WYAW_Main_Syaw_grYawPosition | grYawPosition | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
nacelle_position | 机舱位置 | sequence_nacelle_position | grNacellePositionTotal | grCableTwistTotal | grNacellePositionLtd | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
byaw_CCW | 逆时针偏航标志 | sequence_start_yaw_ccw | DQ_NacelleStartYawCCW | iYawCW | bYawCW | GVL_g_gsYaw_gbYawCW | gbYawCCWCommand | gbYawCCW | 1 | 1 | 1 | 1 | 1 | 1 | 1
byaw_CW | 顺时针偏航标志 | sequence_start_yaw_cw | DQ_NacelleStartYawCW | iYawCCW | bYawCCW | GVL_g_gsYaw_gbYawCCW | GVL_WYAW_Main_Syaw_gbYawCW | gbYawCWCommand | gbYawCW | 1 | 1 | 1 | 1 | 1 | 1
yaw_word | 技改偏航指令 | wYawStWord | wYawStWord | wYawStWord | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
byaw_brake_openhalf | 偏航刹车半释放 | bYawBrakeOpenHalf | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
byaw_brake_opentotal | 偏航刹车全释放 | bYawBrakeOpenTotal | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
yaw_brake_pressure | 偏航刹车压力 | sequence_YawBrakePressure | rHydraulicYawBrakePressure | grNacelleYawLoopPressure_1sec | GVL_g_gshydraulic_grHydraulicYawBrakePressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
nacelle_vibration_Y1 | 振动实时值1前后afterfront | current_vibration_Y | sequence_current_vibration_Y | grCurrentVibrationY_PCH | rNacelleVibrationY1 | .rNacelleVibrationY1 | GVL_g_gsNacelleVibration_grNacelleVibrationY1 | grNacelleVibrationY1 | acceleration_sensor_y_1 | acceleration_y | GVL_WVIB_Main_Svib_grNacelleVibrationY1 | 1 | 1 | 1 | 1
nacelle_vibration_X1 | 振动实时值1左右sidetoside | current_vibration_Z | sequence_current_vibration_Z | grCurrentVibrationZ_PCH | rNacelleVibrationX1 | .rNacelleVibrationX1 | GVL_g_gsNacelleVibration_grNacelleVibrationX1 | grNacelleVibrationX1 | acceleration_sensor_x_1 | acceleration_x | GVL_WVIB_Main_Svib_grNacelleVibrationX1 | 1 | 1 | 1 | 1
nacelle_vibration_Y2 | 振动实时值2前后afterfront | rNacelleVIbrationY2 | .rNacelleVIbrationY2 | rNacelleVibrationY2 | GVL_g_gsNacelleVibration_grNacelleVibrationY2 | grNacelleVibrationY2 | GVL_WVIB_Main_Svib_grNacelleVibrationY2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
nacelle_vibration_X2 | 振动实时值2左右sidetoside | rNacelleVibrationX2 | .rNacelleVibrationX2 | GVL_g_gsNacelleVibration_grNacelleVibrationX2 | grNacelleVibrationX2 | GVL_WVIB_Main_Svib_grNacelleVibrationX2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
nacelle_vibration_filter_Y | 振动滤波值前后afterfront | filtered_vibration_Y | sequence_filtered_vibration_Y | grFilteredVibrationY_PCH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
nacelle_vibration_filter_X | 振动滤波值左右sidetoside | filtered_vibration_Z | sequence_filtered_vibration_Z | grFilteredVibrationZ_PCH | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
iBP_level | 刹车等级 | sequence_BPLevel | giBPLevel | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
ican_operationenable | can使能 | sequence_CAN_OperationEnable | diCAN_OperationEnable | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
hydraulic_systempressure | 液压系统压力 | sequence_SystemPressure | rHydraulicSystemPressure | grHydrPressureSystem | GVL_g_gshydraulic_grHydraulicYawBrakePressure | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
byaw_electricbrake_open | 电磁抱闸 | sequence_ElectricBrakeOpen | bYawMotorElectricBrakeOpen | GVL_g_gsYaw_gbYawMotorElectricBrakeOpen | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
hydraulic_pumpon | 液压泵打压 | sequence_ | iHydraulicPumpOn | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter_torque | 变流器转矩 | rConverterTorque | GVL_WCOV_Main_Scov_grConverterTorque | grConverterTorque | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter_torque_setpoint | 变流器转矩设定值 | GVL_WCOV_Main_Scov_grConverterTorqueSetpointCommand | grConverterTorqueSetpointCommand | rConverterTorqueSetpointCommand | grCAN_GeneratorTorqueSetPointValue | rConverter1TorqueSetpointCommand | grConverter1TorqueSetpointCommand | rConverterTorqueSetpoint | 1 | 1 | 1 | 1 | 1 | 1 | 1
wConverterStateWord | 变流器状态 | wConverterStateWord | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
shaft_power_setpoint | 发电机功率输出设定值 | grGeneratorPowerSetpointOutput | rLocalGeneratorPowerSetpoint | rGeneratorPowerSetpointOutput | grGeneratorPowerSetpoint | grActivePowerSetPointValue | Q_Plc_D_ShaftPowerSetpoint | Q_BK_D_ShaftPowerSetpoint | rShaftPowerSetpointTargetRateLimited | m_D_ShaftPowerSetpointTargetRateLimited | 1 | 1 | 1 | 1 | 1
damping_torque | 传动链加阻 | Q_BK_VsprDampingTorque | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
laser1 | 激光雷达1 | rLaser1 | grLaser1Value | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
laser2 | 激光雷达2 | rLaser2 | grLaser2Value | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
rclearance1 | 净空距离1 | rClearance1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
rclearance2 | 净空距离2 | rClearance2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
exc_mode | 共振穿越模式 | iExcluedZoneExcMode | iExcMode | rExcluedZoneExcMode | grExcluedZoneExcMode | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
exc_high_speed | 共振穿越上界 | rTowerExcHighSpeed | grTowerExcHighSpeed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
exc_low_speed | 共振穿越下界 | rTowerExcLowSpeed | grTowerExcLowSpeed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
nacelle_direction_north | 机舱对北角度 | rNacelleDirectionToNorth | grNacelleDirectionToNorth30s | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
wind_direction_north | 风向对北角度 | grWindDirectionToNorth30s | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
iPowerReductionType | 限电标志位 | iPowerReductionType | giPowerReductionType | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
air_density | 空气密度 | rAirDensity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
outdoor_temp | 户外温度 | sequence_temp_outdoor | grTempOutdoor | rOutdoorTemperature | GVL_g_gsAmbient_grOutdoorTemperature | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch1_DClink_voltage | 桨叶1直流母线电压 | grBlade1DCLinkVoltage | rPitchDCLinkVoltageA1 | grPitchDCLinkVoltageA1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch2_DClink_voltage | 桨叶2直流母线电压 | grBlade2DCLinkVoltage | rPitchDCLinkVoltageA2 | grPitchDCLinkVoltageA2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
pitch3_DClink_voltage | 桨叶3直流母线电压 | grBlade3DCLinkVoltage | rPitchDCLinkVoltageA3 | grPitchDCLinkVoltageA3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
breaker_on_feedback1 | 断路器柜合闸状态反馈1 | bNacelleBreakerCabinetBreakerOnFeedback1 | gbNacelleBreakerCabinetBreakerOnFeedback1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
breaker_on_feedback2 | 断路器柜合闸状态反馈2 | bNacelleBreakerCabinetBreakerOnFeedback2 | gbNacelleBreakerCabinetBreakerOnFeedback2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter1_generator_voltage | 变流器1发电机侧电压 | rConverter1GeneratorSideVoltage | grConverter1GeneratorSideVoltage | rConverter1GeneratorVoltage | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter2_generator_voltage | 变流器2发电机侧电压 | rConverter2GeneratorSideVoltage | grConverter2GeneratorSideVoltage | rConverter2GeneratorVoltage | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter1_torque | 变流器1转矩 | rConverter1Torque | grConverter1Torque | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter2_torque | 变流器2转矩 | rConverter2Torque | grConverter2Torque | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
converter_generator_voltage | 变流器发电机侧电压 | rConverterGeneratorVoltage | grConverterGeneratorSideVoltage | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1